## Inverters
Deye - Ongrid Inverters - Price - March (2026)
Sl No | No of MPPT / Strings per MPPT | Models | Dealer / MSP (10-20 Pcs) (INR) | EPC Price (1 Pcs - 5 Pcs) (INR) | Price difference | %
1 | 1 MPPT / 1 String | 1.5KW Single Phase | 14350 | 14602 | 252 | 1.726%
2 | 1 MPPT / 1 String | 2.2KW Single Phase | 14485 | 14739 | 254 | 1.723%
3 | 1 MPPT / 1 String | 3KW Single Phase | 14891 | 15153 | 262 | 1.729%
4 | 1 MPPT / 1 String | 3.3KW Single Phase | 15162 | 15428 | 266 | 1.724%
5 | 1 MPPT / 1 String | 3.6KW Single Phase | 16245 | 16530 | 285 | 1.724%
6 | 1 MPPT / 1 String | 4KW Single Phase | 17193 | 17494 | 301 | 1.721%
7 | 2 MPPT / 1 String | 5KW Single Phase | 23961 | 24382 | 421 | 1.727%
8 | 2 MPPT / 1 String | 5KW Three Phase | 41336 | 42008 | 672 | 1.6%
9 | 2 MPPT / 1 String | 6KW Three Phase | 42796 | 43492 | 696 | 1.6%
10 | 2 MPPT / 1 String | 8KW Three Phase | 44403 | 45125 | 722 | 1.6%
11 | 2 MPPT / 1 String | 10KW Three Phase | 46010 | 46758 | 748 | 1.6%
12 | 2 MPPT / 1 String | 12KW Three Phase | 47470 | 48242 | 772 | 1.6%
13 | 2 MPPT / 1 String + 2 | 15KW Three Phase | 56234 | 57148 | 914 | 1.599%
14 | 2 MPPT / 3 String | 18KW Three Phase | 59886 | 60859 | 973 | 1.599%
15 | 2 MPPT / 3 String | 20KW Three Phase | 63537 | 64570 | 1033 | 1.6%
16 | 2 MPPT / 3 String | 25KW Three Phase | 68649 | 69766 | 1117 | 1.601%
17 | 2 MPPT / 3 String | 33KW Three Phase | 77349 | 78606 | 1257 | 1.599%
18 | 3 MPPT / 3 String | 40KW Three Phase | 99489 | 101175 | 1686 | 1.666%
19 | 4 MPPT / 3 String | 50KW Three Phase | 110699 | 112575 | 1876 | 1.666%
20 | 4 MPPT / 3 String | 60KW Three Phase | 117705 | 119700 | 1995 | 1.667%
21 | 4 MPPT / 4 String | 80KW Three Phase | 203181 | 206625 | 3444 | 1.667%
22 | 4 MPPT / 4 String | 90KW Three Phase | 231491 | 235553 | 4062 | 1.724%
23 | 4 MPPT / 4 String | 100KW Three Phase | 238260 | 242440 | 4180 | 1.724%
24 | 6 MPPT / 4 String | 110KW Three Phase | 245029 | 249328 | 4299 | 1.724%
25 | 8 MPPT / 4 String | 125KW Three Phase | 278873 | 283765 | 4892 | 1.724%
26 | 8 MPPT / 4 String | 136KW Three Phase | 292410 | 297540 | 5130 | 1.724%
Deye - Micro Inverters - Price - March (2026)
Sl No | Phase | Models | Dealer / MSP (10-20 Pcs) (INR) | EPC Price (1 Pcs - 5 Pcs) (INR)
27 | Micro Inverter - Ongrid | 1000W | 9056 | 9203 | 147 | 1.597%
28 | Micro Inverter - Ongrid | 2200W | 14858 | 15141 | 283 | 1.869%
29 | Micro Inverter - Hybrid | 1000W | 30965 | 31469 | 504 | 1.602%
Deye - Hybrid Inverters - Price - March (2026)
Sl No | Phase | Models | Dealer / MSP (10-20 Pcs) (INR) | EPC Price (1 Pcs - 5 Pcs) (INR)
30 | 1 MPPT / 1 String | 3KW - 24V - LV - Single Phase | 65550 | 66643 | 1093 | 1.64%
31 | 1 MPPT / 1 String | 3KW - 48V - LV - Single Phase | 65550 | 66643 | 1093 | 1.64%
32 | 2 MPPT / 1 String | 3.6KW - 48V - LV - Single Phase | 72675 | 73886 | 1211 | 1.639%
33 | 2 MPPT / 1 String | 5KW - 48V - LV - Single Phase | 79800 | 81130 | 1330 | 1.639%
34 | 2 MPPT / 1 String | 6KW - 48V - LV - Single Phase | 84075 | 85476 | 1401 | 1.639%
35 | 2 MPPT / 1 String | 8KW - 48V - LV - Single Phase | 112575 | 114451 | 1876 | 1.639%
36 | 2 MPPT / 1 String | 8KW - 48V - LV - Three Phase | 149625 | 152119 | 2494 | 1.64%
37 | 2 MPPT / 2 + 1 String | 10KW - 48V - LV - Three Phase | 158888 | 161536 | 2648 | 1.639%
38 | 2 MPPT / 2 + 1 String | 12KW - 48V - LV - Three Phase | 163875 | 166606 | 2731 | 1.639%
39 | 2 MPPT / 2 + 1 String | 15KW - 48V - LV - Three Phase | 204488 | 207896 | 3408 | 1.639%
40 | 2 MPPT / 2 + 1 String | 20KW - 48V - LV - Three Phase | 261488 | 265846 | 4358 | 1.639%
41 | 3 MPPT / 2 String | 30KW - HV - Hybrid Inverter | 406125 | 412894 | 6769 | 1.639%
42 | 4 MPPT / 2 String | 40KW - HV - Hybrid Inverter | 463125 | 470844 | 7719 | 1.639%
43 | 4 MPPT / 2 String | 50KW - HV - Hybrid Inverter | 505875 | 514306 | 8431 | 1.639%
44 | 6 MPPT / 2+2+2+2+2+2 | 60KW - HV - Hybrid Inverter | 637688 | 648316 | 10628 | 1.639%
45 | 6 MPPT / 2+2+2+2+2+2 | 70KW - HV - Hybrid Inverter | 655500 | 666425 | 10925 | 1.639%
46 | 6 MPPT / 2+2+2+2+2+2 | 80KW - HV - Hybrid Inverter | 726750 | 738863 | 12113 | 1.639%
47 |  | 100KW - HV Hybrid Inverter | 798000 | 811300 | 13300 | 1.639%
48 |  | 125KW - HV Hybrid Inverter | 940500 | 956175 | 15675 | 1.639%
Deye - Batteries - Price - March (2026)
Sl No | Type of Batteries | Models | Dealer / MSP (10-20 Pcs) (INR) | EPC Price (1 Pcs - 5 Pcs) (INR)
49 | LV Battery - LiFePO4 (6000 Cycles) | SE - F5 Plus | 85352 | 86717 | 1365 | 1.574%
50 | LV Battery - LiFePO4 (6000 Cycles) | SE - F12 | 169219 | 171926 | 2707 | 1.575%
51 | LV Battery - LiFePO4 (6000 Cycles) | SE - F16 | 200391 | 203597 | 3206 | 1.575%
52 | HV Battery - LiFePO4 (6000 Cycles) | BOS-GM5.1 - HV Battery Unit (Rack mount) | 93219 | 94710 | 1491 | 1.574%
53 | HV BMS Unit | Cluster Control Box | 84609 | 85963 | 1354 | 1.575%
54 | HV Battery Stand | BOS-G Rack 3U - LRACK (9 Layer) | 31172 | 31671 | 499 | 1.576%
55 | HV Battery Stand | BOS-G Rack 3U - HRACK (13 Layer) | 34141 | 34687 | 546 | 1.574%
56 | C&I Solution | BOS-B Pro (241Kwh) | 3271919 | 3327375 | 55456 | 1.667%
57 | C&I Solution | PCS (100K) | 406363 | 413250 | 6887 | 1.667%
58 | C&I Solution | PCS (125K) | 427382 | 434625 | 7243 | 1.666%
59 | C&I Solution | MPPT | 179360 | 182400 | 3040 | 1.667%
60 | C&I Solution | STS (500K) | 571710 | 581400 | 9690 | 1.667%
61 | In Door HV Solution | BOS-A | 125412 | 127538 | 2126 | 1.667%
62 | In Door HV Solution | BOS-A BMS | 100890 | 102600 | 1710 | 1.667%
63 | In Door HV Solution | Rack (10 + 1) | 30828 | 31350 | 522 | 1.665%
64 | In Door HV Solution | Rack (13 + 1) | 36433 | 37050 | 617 | 1.665%

## HYBRID BoS
FESTA SOLAR - SOLAR HYBRID - BOS ITEMS
Sl.No | Inverter Specification | DCDB Configuration | ACDB Configuration | DCDB Price (INR) | ACDB Price (INR) | Battery Box with DC MCCB (INR) | Total (INR)
1 | 3KWp - Single Phase | 1 IN 1 OUT-500V (1 MCB & 1 SPD) | 1 IN 1 OUT-Single Phase with Change over | 2450 | 4700 | 4900 | 12050
2 | 3.6KW-5KWp-Single Phase | 2 IN 2 OUT-500V (2 MCB & 2 SPD) | 1 IN 1 OUT-Single Phase with Change over | 4950 | 4700 | 4900 | 14550
3 | 6KWp-Single Phase | 2 IN 2 OUT-500V (2 MCB & 2 SPD) | 1 IN 1 OUT-Single Phase with Change over | 4950 | 4900 | 4900 | 14750
4 | 8KWp-Single Phase | 2 IN 2 OUT-500V (2 MCB & 2 SPD) | 1 IN 1 OUT-Single Phase with Change over | 4950 | 7050 | 4900 | 16900
5 | 8KWp-Three Phase | 2 IN 2 OUT-500V (2 MCB & 2 SPD) | 1 IN 1 OUT-Three Phase with Change over | 4950 | 10900 | 4900 | 20750
6 | 10-12KWp - Three phase | 2 IN 2 OUT-1000V (2 MCB & 2 SPD) | 1 IN 1 OUT-Three Phase with Change over | 7750 | 10900 | 4900 | 23550
7 | 15KWp-Three Phase | 3 IN 3 OUT-1000V (2 MCB & 2 SPD) | 1 IN 1 OUT-Three Phase with Change over | 8700 | 14300 | - | 23000
8 | 20 kwp - Three phase | 4 IN 4 OUT-1000V (2 MCB & 2 SPD) | 1 IN 1 OUT-Three Phase with Change over | 10200 | 14300 | - | 24500
9 | Battery Combiner Box | Cu. Bar 40x10 mm |  | - | - | 7700 | 7700

## ON-GRID BoS
FESTA SOLAR - ON GRID - BOS PRICE LIST
Sl.No | Inverter Specification | DCDB Configuration | ACDB Configuration | DCDB Price (INR) | ACDB Price (INR) | Combo Pricing (INR)
1 | 1-3KWp - Single Phase 1MPPT/1STRING | 1 IN 1 OUT-500V | 1 IN 1 OUT-Single Phase- 25AMCB | 2450 | 2100 | 4550
2 | 5KWp - Single Phase 1MPPT/2STRING | 1 IN 1 OUT 1000V, 1 MCB &1SPD | 1 IN 1 OUT-Single Phase- 32AMCB | 4500 | 2100 | 6600
3 | 5-8KWp - three Phase 2MPPT/2STRING | 2 IN 2 OUT 2 MCB & SPD(500V) | 1 IN 1 OUT-three Phase-20AMCB | 4950 | 4250 | 9200
4 | 10-12kwp - three phase 2MPPT/2STRING | 2 IN 2 OUT 2 MCB & SPD(1000V) | 1 IN 1 OUT-three Phase-32AMCB | 7750 | 4250 | 12000
5 | 15-20kwp - three phase 2MPPT/2STRING | 3 IN 3 OUT 2 MCB & SPD(1000V) | 1 IN 1 OUT-three Phase-40AMCB | 8700 | 4700 | 13400
6 | 25-33kwp - three phase 2MPPT/2STRING | 4 IN 4 OUT 2 MCB & SPD(1000V) | 1 IN 1 OUT-three Phase-63AMCB | 10200 | 5500 | 15700
7 | 40kwp -three phase 3MPPT/3STRING | 6 IN 6 OUT 3 MCB & SPD(1000V) | 1 IN 1 OUT-three Phase-100AMCCB | 17000 | 17800 | 34800
8 | 50kwp -three phase 4MPPT/3STRING | 6 IN 6 OUT 4 MCB & SPD(1000V) | 1 IN 1 OUT-three Phase-100AMCCB | 19000 | 17800 | 36800
9 | 60kwp -three phase 4MPPT/3STRING | 8 IN 8 OUT 4 MCB & SPD(1000V) | 1 IN 1 OUT-three Phase-125AMCCB | 20600 | 20700 | 41300
10 | 80kwp -three phase 4MPPT/4STRING | 10 IN 10 OUT 4 MCB & SPD(1000V) | 1 IN 1 OUT-three Phase-160AMCCB | 22150 | 26900 | 49050
11 | 90-100kwp -three phase 6MPPT/4STRING | 12 IN 12 OUT 6 MCB & SPD(1000V) | 1 IN 1 OUT-three Phase-200AMCCB | 33300 | 32500 | 65800
12 | 110kwp -three phase 6MPPT/4STRING | 14 IN 14 OUT 6 MCB & SPD(1000V) | 1 IN 1 OUT-three Phase-250AMCCB | 34900 | 34900 | 69800
13 | 125kwp -three phase 8MPPT/4STRING | 16 IN 16 OUT 8 MCB & SPD(1000V) | 1 IN 1 OUT-three Phase-250AMCCB | 39980 | 34900 | 74880
14 | 136kwp -three phase 8MPPT/4STRING | 16 IN 16 OUT 8 MCB & SPD(1000V) | 1 IN 1 OUT-three Phase-250AMCCB | 39980 | 34900 | 74880

## Notes
Note | Data was manually extracted from the provided images. Please cross-check values against the original images before issuing quotations.
Currency | INR
Generated for | Separate Excel file from image extraction